## Sheet1
X |  |  |  | Without load |  |  |  |  | cross | length
1 | 2 | 3 | AVG | length(micron)/step | px/step (50x) |  |  | micron | 18 | 200
49338 | 49397 | 50443 | 49726 | 0.54298 | 6.3827 | 6.3827 | [5 empty] | micron
-53895 | -54727 | -53497 | -54039.6667 | -0.49963 | -5.8732 | -5.8732 |  | magni | pxHori | pxVert | pxAvg | length | length/px | px/maginification
Y | [7 empty] | 5 | 235.4 | 235.4 | 235.4 | 200 | 0.84962 | 47.08
1 | 2 | 3 | AVG |  |  |  |  | 10 | 469.6 | 469.7 | 469.65 | 200 | 0.42589 | 46.96
53553 | 54969 | 54690 | 54404 | 0.49629 | 5.8339 | 5.8339 |  | 20 | 948.6 | 948.6 | 948.6 | 200 | 0.21084 | 47.43
-57471 | -56165 | -55811 | -56482.3333 | -0.47803 | -5.6192 | -5.6192 |  | 50 | 2351 | 2351 | 2351 | 200 | 0.08507 | 47.02
X |  |  |  | Test1 |  |  |  | Specs
1 | 2 | 3 | AVG | length(micron)/step | px/step (50x) | 20x
52274 | 51457 | 51397 | 51709.3333 | 0.52215 | 6.1379 | 2.4766 |  | StepAmplitude: 50
54411 | 53078 | 52932 | 53473.6667 | 0.50492 | 5.9354 | 2.3948
Y | [7 empty] | Specs:
1 | 2 | 3 | AVG | [5 empty] | • Travel Range
53151 | 53099 |  | 53125 | 0.50824 | 5.9743 | 2.4106 |  | 27 mm
51564 | 51232 |  | 51398 | 0.52531 | 6.175 | 2.4916 |  |  | • Maximum Speed
|  |  |  | #DIV/0! | #DIV/0! | #DIV/0! |  | 0.5 mm/s
|  |  |  | #DIV/0! |  | #DIV/0! |  |  | • Minimum Incremental Motion
|  |  |  | #DIV/0! |  | #DIV/0! |  | 0.1 µm
|  |  | 51570 | 0.52356 | 6.1545 | 2.4832
|  |  | 52079 | 0.51844 | 6.0943 | 2.459
0
|  |  | 54304 | 0.4972 | 5.8446 | 2.3582
|  |  | 51144 | 0.52792 | 6.2057 | 2.5039 | directly relate step to pixel |  |  | #not recommended
[8 empty] | steps | px |  | avg
[7 empty] | X+ |  | 1931.92
[7 empty] | X- | 300 | 1784.64
Y+
| backlash | [5 empty] | Y-
assume lens movement
common problem: go back too much
already considered different stride
right left ~10micron
left right
up down: ~10micron
down up: less